Highlights:

All the controls are  inbuilt in the faucet body; Very stable solenoid valve with a life of  more than 500 000 times; Battery life is more than 1 year .High-quality Stainless Steel parts with high-quality brass valve body. Can be mounted on the wall within minutes.

Characteristic:

 Electronic faucet; Touch-free usage to eliminate cross-contamination

*   Easy to install and maintain.

 International advanced electronic technology with high sensitivity and stability.

 The sensor is in the spout to suit user’s habits.

 Modular Design, Ease in changing batteries, Robust construction and easy to change

Sensing Distance.

A   Solenoid valve shut off automatically when battery is weak.

B. Cleaning protection: Flow flush automatically exceed 24 hours if not in use.

C. Water saving protection: Flow stops automatically when any obstruction is in front of the sensor  for more than  45 seconds.

Widely used in all over the world such as hospitals, dental clinics, hotels, restaurants,

factory, laboratory, schools, top office buildings and many public areas. It could also

be used for home  kitchens and bathrooms.

Technical information:

Power supply: DC 6v (4x1.5v Alkaline Duracell battery)

Sensing Range: 5-15cm

Applicable water pressure: 0.05-0.8Mpa (8PSI-120PSI)

Water inlet/outlet pipe diameter: G1/2"

Applicable water temperature: 9-65℃

Recognition time ≤1s

Features:

S.S. 304 Construction.

Brass Valve body does not adere  to scale & salts.

Modular single component design.

No cables & Additional pipes.

Battery life  1 lac operations.

Easy to change batteries without dismantling.

Flow control cum shutoff valve provided for wall mounted units.

Ideal for Foot wash ,in Temples & Mosques.

Packing:

Inner Packing: 1pcs/box

Outer Packing: 20pcs /carton